## TimeEntries
Contract | Date Requested | Title | Requestor | Category | Start | End | Normal Qty | Normal Rate | AH Qty | AH Rate | Total | Resource | POD | RoleType | WorkType | Note
Under Contract | 8/13/2024 | Replacing UPS Batteries | dougmcgaugh@vintagedesigninc.com | Project Work | 8/13/2024 8:30:00 AM | 8/13/2024 10:00:00 AM | 1.5 | 0 | 0 | 0 | 0 | H. Yaghoubi | IRV-TS1 | Support | Remote | Replacing UPS Batteries, took old batteries to HQ to recycle.
Under Contract | 8/15/2024 | Firewall AD setting | dougmcgaugh@vintagedesigninc.com | My Network Devices | 8/15/2024 12:00:00 PM | 8/15/2024 1:00:00 PM | 1 | 0 | 0 | 0 | 0 | H. Yaghoubi | IRV-TS1 | Support | Remote | Checked the issue reported by Support on some users are not able to login to VPN. AD Setting on the firewall should be updated and the new AD IP Address should be set on the firewall. prepared an email and sent to ADG to update the AD IP Address on the firewall.
Under Contract | 8/21/2024 | RA02 Issue Reported by Support | dougmcgaugh@vintagedesigninc.com | Server Work | 8/21/2024 12:40:00 PM | 8/21/2024 1:45:00 PM | 1.08 | 0 | 0 | 0 | 0 | H. Yaghoubi | IRV-TS1 | Support | Remote | RA02 issue reported by support, logged into center and found the server stuck on black screen, before rebooting the server, checked the kernel logfiles on VM and Center and nothing problematic was found. Checked the resources on the server which looked fine, rebooted the server and monitored boot process to ensure the server will come backup healthy. asked support to check the eventlogs on the server and see if there is anything logged.
Under Contract | 8/23/2024 | Critical - VDI080.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/23/2024 2:00:00 PM | 8/23/2024 2:15:00 PM | 0.25 | 0 | 0 | 0 | 0 | S. Sharma | CHD-TS1 | Support | Remote | Worked on the assigned ticket.Logged into the OPS manager and observed machine VDI080 has no response from last 5 polls. Conneted to machine from manage engine and upon investigation, found that the SNMP service was stucked. So restart the services and rediscover the device on OP manager portal. After completing these steps, all sensors resumed normal operation. As a result, closing this ticket.
Under Contract | 8/23/2024 | Critical - VDI129.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/23/2024 2:00:00 PM | 8/23/2024 2:19:00 PM | 0.32 | 0 | 0 | 0 | 0 | S. Chamoli | CHD-TS1 | Support | Remote | Received critical alert from OPS Manager indicating that the VDI129 machine was down. I checked on myremote and confirmed that the machine is online. I restarted the SNMP, turn off firewall also update the IP address on ops under device details, and initiated a rediscovery of the device from the portal. The critical alert has now been resolved, and the machine is showing as healthy. Therefore, I am closing this ticket.
Under Contract | 8/23/2024 | Critical - VDI129.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Automated | 8/23/2024 2:39:00 PM | 8/23/2024 2:43:00 PM | 0.07 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | I have updated the client's name, to ensure the client receives all updates related to this alert. Also, assigned responsibility for this ticket to Sourabh in tech support to check and resolve the alert-related issues. Critical - VDI129.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName)
Under Contract | 8/23/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | Automated | 8/23/2024 6:59:00 PM | 8/23/2024 7:06:00 PM | 0.12 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | I have updated the client's name, to ensure the client receives all updates related to this alert. Also, assigned responsibility for this ticket in tech support to check and deploy failed or missing patches as shown in ticket details. I also closed another duplicate tickets for the same issue after verification. Failure Notification for Automate Patch Deployment task-VTD Patch Management
Under Contract | 8/23/2024 | Malwarebytes scan pending on VDI210 | dougmcgaugh@vintagedesigninc.com | My AntiVirus | 8/23/2024 8:27:00 PM | 8/23/2024 8:42:00 PM | 0 | 0 | 0.25 | 0 | 0 | S. Sharma | CHD-TS1 | Support | Remote | Review the malwarebytes portal and found Malwarebytes scan pending on VDI210.Tried to scan from portal, but it was getting failed. So connected to the machine from manage engine and checked for malwarebytes service and restart the service, it was getting stucked. So open task manager and killed the service. Then restarted the service, scheduled the scanning from portal.Scanning is completed and no detections found . Hence closing this ticket.
Under Contract | 8/23/2024 | Jim Smith needed assistance resetting his password | dougmcgaugh@vintagedesigninc.com | Office 365 / Gsuite | 8/23/2024 10:30:00 AM | 8/23/2024 10:45:00 AM | 0.25 | 0 | 0 | 0 | 0 | S. Sark | IRV-TS1 | Support | Remote | Help jim reset password on his iphone.
Under Contract | 8/23/2024 | Password reset project | dougmcgaugh@vintagedesigninc.com | Desktop Work | 8/23/2024 10:45:00 AM | 8/23/2024 11:00:00 AM | 0.25 | 0 | 0 | 0 | 0 | S. Sark | IRV-TS1 | Support | Remote | Review user list and send 3rd batch of PW reset emails
Under Contract | 8/23/2024 | Re: back ups? Vintage | dougmcgaugh@vintagedesigninc.com | User Generated | 8/23/2024 11:00:00 AM | 8/23/2024 12:05:00 PM | 1.08 | 0 | 0 | 0 | 0 | M. Kumar | CHD-TS1 | Support | Remote | logged into file server and Verified the path (Acctdocs (F) / Community Readiness / New Community Name AND CITY) and size, it was 6 MB so logged into Veeam server and restored the Folder from Last night (21 August) , verified the size it was 8 MB found only one folder where apromixate 14-15 files were missing, so copied those file and sent email to user, waiting for response
Under Contract | 8/23/2024 | Email forwarding for Carol Neuroth not working | dougmcgaugh@vintagedesigninc.com | Office 365 / Gsuite | 8/23/2024 1:45:00 PM | 8/23/2024 2:45:00 PM | 1 | 0 | 0 | 0 | 0 | S. Sark | IRV-TS1 | Support | Remote | Doug created email forwarding from Carol to Erica but it was not working. Analyzed error message and found that erica's email address was typed incorrectly, which caused the bounceback. Corrected the email, but still not working. Found that it was because email was forwarding from to external domain. From Nuwood to vintagedesigninc.com. Created forwarding rule instead per MS practices. Doug sent a test email and we verified that he did not get a bounce back. Message trace showed that Erica received the email.
Under Contract | 8/23/2024 | VTD GPO review | dougmcgaugh@vintagedesigninc.com | Datacenter | 8/23/2024 6:25:00 PM | 8/23/2024 7:30:00 PM | 1.08 | 0 | 0 | 0 | 0 | M. Kumar | CHD-TS1 | Support | Remote | Pushed the Printer via GPO for all domain users for below mentioned printers, LF ADMIN, LF OPS, LF PAV1, LF PAV2, CR Color Back Office, LIV Color Back Office, SAC Office Ricoh imc6000, Cerritos, created script in myrmm to apply "Gpforce /update". verified on 2 -3 computer and it applied successfully,
Under Contract | 8/24/2024 | Failed Veeam backup for VTD | dougmcgaugh@vintagedesigninc.com | Veeam | 8/24/2024 5:43:00 PM | 8/24/2024 6:41:00 PM | 0.97 | 0 | 0 | 0 | 0 | S. Sharma | CHD-TS1 | Support | Remote | Monitor the Veeam backups for VTD from VSPC console and found backup jobs IRNX01, IRRA02,NVR03,IRNG05,VTD-HQ-RA-02 got failed. So connected to the server. Troubleshoot the issue and found backup repository was not accessible. So Open the NAS Console and Reboot the NAS. Then after reboot scan the NAS from Veeam management console. Now backup repository was accessible, also clean the backup repository path from recycle bin. Then retried the failed backup jobs. Now the backup jobs are running and backup job IRNX01,NVR03,IRRA02,VTD-HQ-RA-02 is passed. Only IRNG05 is running.
Under Contract | 8/24/2024 | Failed patches deployed on (VDI121, VDI111, VDI209, VDI080) machines | dougmcgaugh@vintagedesigninc.com | My RMM | 8/24/2024 11:00:00 PM | 8/24/2024 11:59:00 PM | 0 | 0 | 0.98 | 0 | 0 | A. Sharma | CHD-TS1 | Support | Remote | Login to the My RMM portal and found High vulnerability patches were failed after automatically deployment on some machines. So connected to the machines (VDI121, VDI111, VDI209, VDI080) downloaded and installed missing patches Rebooted the machines then rescanned the system from My RMM portal, missing patches are up to date and system shows in healthy state. Patches Description:- Microsoft Edge for chromium business (128.0.2739.42) (x64), Windows Malicious Software Removal Tool x64 - Aug 2024 (KB890830), Update for Microsoft Teams Machine-Wide Installer 1.7.00.21751 (x64), Update for Microsoft WebView2 Runtime (x64) (128.0.2739.42), Google Chrome (x64) (128.0.6613.84, 128.0.6613.85)
Under Contract | 8/24/2024 | Failed Veeam backup for VTD | dougmcgaugh@vintagedesigninc.com | Veeam | 8/24/2024 11:00:00 PM | 8/24/2024 11:30:00 PM | 0 | 0 | 0.5 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | Monitor the backup job for VTD, IRNG05 backup job is completed.
Under Contract | 8/24/2024 | Update Veeam One version for client. | dougmcgaugh@vintagedesigninc.com | Veeam | 8/24/2024 12:45:00 AM | 8/24/2024 1:30:00 AM | 0 | 0 | 0.75 | 0 | 0 | A. Bhardwaj | CHD-TS1 | Support | Remote | Logged into the Veeam one server and then download and install the latest patch on the server for Veeam One for VTD.
Under Contract | 8/24/2024 | Manage engine agent not syncing with portal on VTD machines - VDI068, VDI080, VDI100-MB | dougmcgaugh@vintagedesigninc.com | My RMM | 8/24/2024 1:03:00 AM | 8/24/2024 1:52:00 AM | 0 | 0 | 0.82 | 0 | 0 | A. Sharma | CHD-TS1 | Support | Remote | I logged into the ManageEngine portal and discovered that the agents on machines (VDI068, VDI080, VDI100-MB) were not communicating with the portal. I then connected to the machines and attempted to restart the service, but this did not resolve the issue. Subsequently, I ran the agent troubleshooting tool on these machines. Following this, the agents on the machines successfully resumed communication with the portal. Hence closing the ticket.
Under Contract | 8/24/2024 | Verifying devices for VTD in Cisco Umbrella portal against My Remote portal | dougmcgaugh@vintagedesigninc.com | My Remote | 8/24/2024 1:52:00 AM | 8/24/2024 2:34:00 AM | 0 | 0 | 0.7 | 0 | 0 | A. Sharma | CHD-TS1 | Support | Remote | Verifying devices for VTD in Cisco Umbrella portal against My Remote portal.
Under Contract | 8/24/2024 | Screen connect version 24.2.5.8971 updated on VTD machine:- (VDI076) | dougmcgaugh@vintagedesigninc.com | My Remote | 8/24/2024 3:51:00 AM | 8/24/2024 4:06:00 AM | 0 | 0 | 0.25 | 0 | 0 | A. Sharma | CHD-TS1 | Support | Remote | I reviewed the My Remote portal and found that the machine (VDI076) were running an old version of Screen Connect. I connected to the machine, uninstalled the old version, and reinstalled the latest version, 24.2.5.8971. After that, I refreshed the machine from the portal, and the machine were successfully updated to the latest version of Screen Connect. Hence, closing this ticket.
Under Contract | 8/24/2024 | New screen connect version (24.2.10.8991) updated on machines: (VDI139) | dougmcgaugh@vintagedesigninc.com | My Remote | 8/24/2024 4:03:00 AM | 8/24/2024 4:18:00 AM | 0 | 0 | 0.25 | 0 | 0 | S. Kumar | CHD-TS1 | Support | Remote | Review the my remote portal, and found the machine (VDI139) running with old version of screenconnect(24.2.8.8915)..So connected to the machine . Uninstalled the old version and reinstalled the latest version 24.2.10.8991. After that refresh the machine from the portal. It was updated to latestversion of screenconnect. Hence closing this ticket..
Under Contract | 8/24/2024 | Backup location [\\192.168.1.185\bkp_vtd] is getting low on free disk space (2.5 TB free of 17.9 TB). | dougmcgaugh@vintagedesigninc.com | Veeam | 8/24/2024 4:30:00 AM | 8/24/2024 5:07:00 AM | 0 | 0 | 0.62 | 0 | 0 | G. Kumar | CHD-TS1 | Support | Remote | Monitor the Veeam backups for VTD and find the backups passed with a warning. So open the backup repository path, and clean the NAS from the recycle bin folder after that rescan the NAS. Now the backup repository space has increased from 2.5 TB to 7 TB.
Under Contract | 8/24/2024 | Erik Falls account | dougmcgaugh@vintagedesigninc.com | Office 365 / Gsuite | 8/24/2024 7:30:00 AM | 8/24/2024 8:10:00 AM | 0.17 | 0 | 0.5 | 0 | 0 | M. Kumar | CHD-TS1 | Support | Remote | logged into AD Server, changed the account name and run forcefully to sync from onprem to Azure AD but still no luck, checked the status from Azure AD sync services found duplicate entried in Azure, so deleted old one which was already sycned to Azure, then made changes again and resync, verified from O365 now we have only one user with Erik name
Under Contract | 8/24/2024 | Re: back ups? Vintage | dougmcgaugh@vintagedesigninc.com | Datacenter | 8/24/2024 10:00:00 AM | 8/24/2024 10:20:00 AM | 0.33 | 0 | 0 | 0 | 0 | M. Kumar | CHD-TS1 | Support | Remote | enabled Volume shadow copy for all Drives, Hence closing the ticket
Under Contract | 8/24/2024 | RA02 Testing | dougmcgaugh@vintagedesigninc.com | Datacenter | 8/24/2024 12:00:00 PM | 8/24/2024 1:05:00 PM | 1.08 | 0 | 0 | 0 | 0 | M. Kumar | CHD-TS1 | Support | Remote | verified user profile in which server user redirected then work accordingly, created new Group, logged into server with Erik credentials, configured outlook, copied data to old server to new Server, waiting for Erik to check, if she will not have any problem then we can process with other users migrations,
Under Contract | 8/25/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | Automated | 8/25/2024 7:00:00 PM | 8/25/2024 8:05:00 PM | 1 | 0 | 0.08 | 0 | 0 | M. Kumar | CHD-TS1 | Support | Remote | Downloaded and installed missing patch on VDI078, VDI221, VDI153, VDI198 The latest update for Microsoft Defender (1.417.297.0)
Under Contract | 8/25/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | My RMM | 8/25/2024 7:50:00 PM | 8/25/2024 8:20:00 PM | 0.17 | 0 | 0.33 | 0 | 0 | Y. Kumar | CHD-TS1 | Support | Remote | Patching attempts failed on machine VDI314, after the automatic patch deployment managed by Manage Engine. Consequently, these machines, namely were flagged as vulnerable due to the unsuccessful patching attempts. So connected to the machines, downloaded and installed the patches. After installation, scan the machines from the manage engine for installed patches. All patches are updated successfully and showing in healthy systems. Machines are:- VDI314,. Patches installed:- Update for Microsoft 365 Apps for Enterprise Current Channel for x64 2407 of version(17830.20166), Google Chrome (x64) (127.0.6533.99, 127.0.6533.100), The latest update for Microsoft Defender (1.417.6.0).
Under Contract | 8/25/2024 | Failed patches deployed on (VDI140, VDI153, VDI075) machines | dougmcgaugh@vintagedesigninc.com | My RMM | 8/25/2024 11:00:00 PM | 8/25/2024 11:59:00 PM | 0 | 0 | 0.98 | 0 | 0 | A. Sharma | CHD-TS1 | Support | Remote | Login to the My RMM portal and found High vulnerability patches were failed after automatically deployment on some machines. So connected to the machines (VDI140, VDI153, VDI075) downloaded and installed missing patches Rebooted the machines then rescanned the system from My RMM portal, missing patches are up to date and system shows in healthy state. Patches Description:- Microsoft Edge for chromium business (128.0.2739.42) (x64), Windows Malicious Software Removal Tool x64 - Aug 2024 (KB890830), Update for Microsoft Teams Machine-Wide Installer 1.7.00.21751 (x64), Update for Microsoft WebView2 Runtime (x64) (128.0.2739.42), Google Chrome (x64) (128.0.6613.84, 128.0.6613.85)
Under Contract | 8/26/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | My RMM | 8/26/2024 4:00:00 PM | 8/26/2024 5:23:00 PM | 1.38 | 0 | 0 | 0 | 0 | S. Sharma | CHD-TS1 | Support | Remote | Login to the manage engine portal and check approved patches for the below mentioned machines then download and installed the vulnerable patches manually which are applicable to the computers. Then reboot the computers and scan the machines for installed patches. After reboot Check and verify the machine with the MY RMM portal. The vulnerable patches are updated successfully. Machines are: VTD-HQ-RG-01,VTD-HQ-RA-01,VTD-HQ-RA-02,VTD-HQ-VBR-01,VTD-HQ-VONE,VTD-HQ-OPSPRB-01 Patches installed 39518 Windows Malicious Software Removal Tool x64 - Aug 2024 (KB890830) 400009 The latest update for Microsoft Defender (1.417.317.0) 340847 Google Chrome (x64) (128.0.6613.84, 128.0.6613.85)
Under Contract | 8/26/2024 | Critical - VDI129.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/26/2024 4:21:00 PM | 8/26/2024 4:43:00 PM | 0.37 | 0 | 0 | 0 | 0 | S. Chamoli | CHD-TS1 | Support | Remote | Received critical alert from OPS Manager indicating that the VDI129 machine was down. I checked on myremote and confirmed that the machine is online. I restarted the SNMP, turn off firewall also update the IP address on ops under device details, and initiated a rediscovery of the device from the portal. The critical alert has now been resolved, and the machine is showing as healthy. Therefore, I am closing this ticket..
Under Contract | 8/26/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | My RMM | 8/26/2024 4:43:00 PM | 8/26/2024 5:58:00 PM | 1.25 | 0 | 0 | 0 | 0 | S. Chamoli | CHD-TS1 | Support | Remote | The following updates failed on the workstations ( VDI069,VDI119,VDI145,VDI078) as the automatic patch deployment was not successfully implemented on these devices. I connected to each machine, downloaded the updates manually, installed them, and rebooted the machines accordingly. After scanning the machines for patches, they are now showing as updated and healthy. Therefore, I am closing the ticket. Below are the missing patches. The latest update for Microsoft Defender (1.417.317.0) Google Chrome (x64) (128.0.6613.84, 128.0.6613.85) Adobe Acrobat DC (64-bit) (24.002.21005) Update for Microsoft 365 Apps for Enterprise Current Channel for x64 2407 of version(17830.20166) 2024-08 Cumulative Update for Windows 10 Version 22H2 for x64-based Systems (KB5041580) (CVE-2024-38178) (CVE-2024-38193) (CVE-2024-38106) (CVE-2024-38107) (CVE-2024-38199) (CVE-2024-21302)
Under Contract | 8/26/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | My RMM | 8/26/2024 5:51:00 PM | 8/26/2024 7:15:00 PM | 1.4 | 0 | 0 | 0 | 0 | Y. Kumar | CHD-TS1 | Support | Remote | Login to the manage engine portal and check approved patches for the below mentioned machines then download and installed. the vulnerable patches manually which are applicable to the computers. Then reboot the computers and scan the machines for installed patches. After reboot Check and verify the machine with the MY RMM portal. The vulnerable patches are updated successfully. Machines are: VDI176, VDI110, VDI192 Patches installed 340815 PDFsam Basic (5.2.5) 39518 Windows Malicious Software Removal Tool x64 - Aug 2024 (KB890830) 400009 The latest update for Microsoft Defender (1.417.317.0) 340847 Google Chrome (x64) (128.0.6613.84, 128.0.6613.85)
Under Contract | 8/26/2024 | System login issue for Karen McDerMott | dougmcgaugh@vintagedesigninc.com | User Generated | 8/26/2024 7:47:00 PM | 8/26/2024 8:24:00 PM | 0.22 | 0 | 0.4 | 0 | 0 | S. Sharma | CHD-TS1 | Support | Remote | Got the call on support from Karen McDerMott for having login issue on her machine. So confirmed system name from user. Connetced to machine and found VDI204 were given name to two machines. And when user tried to login with the credentials, it was giving trust relationship error. So llogin into machine with local admin account, rename the machine to VDI315 and unjoin from domain. After that reboot the machine, and joined again into Domain. Again reboot the machine, and asked user to login with their credentials. Now user is able to login. Also setup user new password on Teams and ask user ot check outlook. It was all working fine now. Hence closing this ticket.
Under Contract | 8/26/2024 | Adding a new Disk to the VM | dougmcgaugh@vintagedesigninc.com | Server Work | 8/26/2024 9:30:00 AM | 8/26/2024 10:00:00 AM | 0.5 | 0 | 0 | 0 | 0 | H. Yaghoubi | IRV-TS1 | Support | Remote | Working with Doug, adding a new disk to the VM.
Under Contract | 8/26/2024 | Erik Falls migration testing | dougmcgaugh@vintagedesigninc.com | Server Work | 8/26/2024 9:30:00 AM | 8/26/2024 10:00:00 AM | 0.5 | 0 | 0 | 0 | 0 | S. Sark | IRV-TS1 | Support | Remote | Testing RA02 to RA-02 migration of user profiles with Erik Falls. Lost access when moved to new security group. Ask Mark from Alchemy to add new test group to Nextgen for further testing.
Under Contract | 8/26/2024 | Computer Issue | dougmcgaugh@vintagedesigninc.com | User Generated | 8/26/2024 11:00:00 PM | 8/26/2024 11:59:00 PM | 0 | 0 | 0.98 | 0 | 0 | S. Kumar | CHD-TS1 | Support | Remote | User mailed in regarding the slow computer issue. so connect to the user system( VDI194 ) and performed several optimization steps, including removing all temporary files, Software distribution and prefetch data. Run disk cleaner, Additionally, I ran the 'sfc /scannow' command in the Command Prompt to restore system health. Also checked for Start-up items, did the clean-boot and cheked the performance settings. After this seems to be the computer is running fine. so emailed to the user. waiting for user response.
Under Contract | 8/26/2024 | Critical - VDI148.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/26/2024 11:24:00 PM | 8/26/2024 11:42:00 PM | 0 | 0 | 0.3 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | This was a critical alert from the OPS manager regarding machine VDI148 not responding on the portal. I checked and found that the machine was showing as online on both MyRemote and MyRMM portals. I verified that the SNMP service was running and restarted the service. I then logged into the OPS portal and confirmed that the machine is now online there as well. The critical alert has been removed. Therefore, I am closing this ticket.
Under Contract | 8/26/2024 | Adding a new Disk to the VM | dougmcgaugh@vintagedesigninc.com | Server Work | 8/26/2024 11:00:00 AM | 8/26/2024 11:40:00 AM | 0.67 | 0 | 0 | 0 | 0 | H. Yaghoubi | IRV-TS1 | Support | Remote | Worked on the Disk - Not initializing on the VM, Removed the disk and attached it again, look like server needs a reboot. Will confirm with Doug and reboot the server after hours and make sure the proper shutdown instruction is followed on rebooting the server.
Under Contract | 8/26/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | My RMM | 8/26/2024 2:34:00 AM | 8/26/2024 3:29:00 AM | 0 | 0 | 0.92 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | Critical patches were missed on the machines VDi056, VDi128, and VDI162. My initial attempt to install them via MyRMM was unsuccessful. I then accessed these machines through the MyRMM tool and manually installed the patches. After completing the installation, I ran a system scan from the portal, which showed that the systems were now healthy. The following patches have been successfully installed: Google Chrome (x64) (128.0.6613.84, 128.0.6613.85), Microsoft WebView2 Runtime (x64) (128.0.2739.42), Windows Malicious Software Removal Tool x64 - Aug 2024 (KB890830), and .NET Runtime (x64) (6.0.33) (KB5042131). The ticket is now being closed.
Under Contract | 8/26/2024 | Virtual Disk consolidation required - IRRA02. | dougmcgaugh@vintagedesigninc.com | Datacenter | 8/26/2024 5:45:00 AM | 8/26/2024 6:30:00 AM | 0 | 0 | 0.75 | 0 | 0 | A. Bhardwaj | CHD-TS1 | Support | Remote | Logged in to V-center and found the server IRRA02 is on Disk consolidation. Go the snapshots and start consolidation for the server and complete the process successfully and then login to the server and verify all the services are up and working fine.
Under Contract | 8/27/2024 | Critical - VDI197.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/27/2024 2:40:00 PM | 8/27/2024 2:57:00 PM | 0.28 | 0 | 0 | 0 | 0 | Y. Kumar | CHD-TS1 | Support | Remote | AS per ticket assigned by komal. logged into the OPS manager and observed critical alerts on the following machine: -VDI197. Upon investigation, I found that the alert indicated a ' Device Down issue on VDI197.I took the remote control and found that it was normal. I proceeded to remotely access these machines and checked their ‘Device Down’ which appeared normal. I then restarted the SNMP service and initiated the rediscovery command on these devices. After completing these steps, all sensors resumed normal operation. As a result, I am closing this ticket.
Under Contract | 8/27/2024 | Critical - VDI129.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/27/2024 4:24:00 PM | 8/27/2024 4:45:00 PM | 0.35 | 0 | 0 | 0 | 0 | S. Chamoli | CHD-TS1 | Support | Remote | Received critical alert from OPS Manager indicating that the VDI129 machine was down. I checked on myremote and confirmed that the machine is online. I restarted the SNMP, turn off firewall also update the IP address on ops under device details, and initiated a rediscovery of the device from the portal. The critical alert has now been resolved, and the machine is showing as healthy. Therefore, I am closing this ticket
Under Contract | 8/27/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | My RMM | 8/27/2024 4:46:00 PM | 8/27/2024 5:32:00 PM | 0.77 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | On the VDI152, VDI160, and VDI190 machines, I manually deployed all necessary patches to ensure system health. For VDI160, I successfully applied patch ID 340312 for Dell Peripheral Manager (version 1.7.6) and patch ID 400009 for the latest update of Microsoft Defender (version 1.417.333.0). On VDI152, there was a delay with patch ID 340312 for Dell Peripheral Manager due to the application being used by another process, but I managed to successfully update patch ID 111797 for Microsoft WebView2 Runtime (x64, version 128.0.2739.42) and patch ID 400009 for Microsoft Defender (version 1.417.333.0). For VDI190, I applied patch ID 111781 for Microsoft Teams Machine-Wide Installer (version 1.7.00.21751) and patch ID 39518 for the Windows Malicious Software Removal Tool (x64, August 2024, KB890830). After scanning all these patches, I verified that all machines are now showing a healthy state.
Under Contract | 8/27/2024 | Distribution Server- IRDC03 communicate issue | Vintage Design | My RMM | 8/27/2024 5:48:00 PM | 8/27/2024 6:31:00 PM | 0.72 | 0 | 0 | 0 | 0 | S. Chamoli | CHD-TS1 | Support | Remote | While monitor VTD site under Manage engine portal found IRDC03 distribution server had issue in syncing and it keep revolve and keeps trying to sync with no changes, Connect on IRDC03 server tried to restart Manage engine DS service restart but that doesn't work, From manage engine remove IRDC03 as AD connector and deleted it as DS server download package of DS with put same configuration for IRDC03 , Also uninstall DS from IRDC03 server and install new package , Once installed syncing is working fine now verified from the Mange engine portal
Under Contract | 8/27/2024 | Vintage workstation setup | dougmcgaugh@vintagedesigninc.com | User Generated | 8/27/2024 5:52:00 PM | 8/27/2024 5:56:00 PM | 0.07 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | By monitoring support mailbox Received an email from Doug regarding Vintage workstation setup for Katrina. I have created a ticket for the task. Additionally, I have assigned the responsibility of managing this ticket to Satish in tech support to complete the task.
Under Contract | 8/27/2024 | Two Vintage laptops ready | dougmcgaugh@vintagedesigninc.com | User Generated | 8/27/2024 5:56:00 PM | 8/27/2024 6:00:00 PM | 0.07 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | By monitoring support mailbox Received an email from Doug regarding Two Vintage laptops ready. I have created a ticket for the task. Additionally, I have assigned the responsibility of managing this ticket to Sourabh in tech support to complete the task.
Under Contract | 8/27/2024 | Critical - VDI197.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/27/2024 7:17:00 PM | 8/27/2024 7:32:00 PM | 0.25 | 0 | 0 | 0 | 0 | S. Sharma | CHD-TS1 | Support | Remote | Worked on the assigned ticket.Logged into the OPS manager and observed machine VDI197 has no response from last 5 polls. Conneted to machine and upon investigation, found that the IP address of machine was different which was on portal. So updated the IP addess of machine on portal and rediscover the device on OP manager portal. After completing these steps, all sensors resumed normal operation. As a result, closing this ticket.
Under Contract | 8/27/2024 | Two Vintage laptops ready | dougmcgaugh@vintagedesigninc.com | User Generated | 8/27/2024 8:28:00 PM | 8/27/2024 9:37:00 PM | 0 | 0 | 1.15 | 0 | 0 | S. Chamoli | CHD-TS1 | Support | Remote | I received another computer, VDI313, to set up for Meaghan Doering . I logged into the computer with user credentials and configured the VPN and remote applications. I installed FileMaker Pro on both the local and remote computers, and set Chrome and Adobe Reader as the default applications. I also set up the welcome page and desktop background as requested.Additionally, I installed the Microsoft 365 applications, including Outlook, on both the local and remote computers, and configured the Outlook signature.
Under Contract | 8/27/2024 | Vintage workstation setup | dougmcgaugh@vintagedesigninc.com | User Generated | 8/27/2024 8:53:00 PM | 8/27/2024 9:45:00 PM | 0 | 0 | 0.87 | 0 | 0 | S. Sharma | CHD-TS1 | Support | Remote | Got the email on support from Doug to Setup machine VDI109 machine for Katrina Buckner. So connected to the machine, to verify that all Technijian tools were installed. I set up the VTD kitchen wallpaper on both screens and proceeded with installing Fortigate VPN. Also setup remote app and desktop connection to access remote apps on user machine. After installation, I rebooted the machine, machine is rebooting. Will handover it to next shift for pending installation.
Under Contract | 8/27/2024 | Two Vintage laptops ready | dougmcgaugh@vintagedesigninc.com | User Generated | 8/27/2024 8:57:00 PM | 8/27/2024 10:00:00 PM | 0 | 0 | 1.05 | 0 | 0 | Y. Kumar | CHD-TS1 | Support | Remote | I was assigned the task of onboarding computers VDI304, to set up for Erica Garcia. I logged in with user credentials and configured the VPN and remote applications. I installed FileMaker Pro on both the local and remote environments, set Chrome and Adobe Reader as the default applications, and customized the welcome page and desktop background as requested. Additionally, I installed Microsoft 365 applications, including Outlook, on both the local and remote computers, and configured the Outlook signature.
Under Contract | 8/27/2024 | New screen connect version (24.2.10.8991) updated on machines: (VDI098-MB and VDI115) | dougmcgaugh@vintagedesigninc.com | My Remote | 8/27/2024 1:46:00 AM | 8/27/2024 2:13:00 AM | 0 | 0 | 0.45 | 0 | 0 | S. Kumar | CHD-TS1 | Support | Remote | Review the my remote portal, and found the machine (VDI098-MB and VDI115) running with old version of screenconnect(24.2.8.8915)..So connected to the machine . Uninstalled the old version and reinstalled the latest version 24.2.10.8991. After that refresh the machine from the portal. It was updated to latestversion of screenconnect. Hence closing this ticket..
Under Contract | 8/27/2024 | patch updated on machine VDI177 | Vintage Design | My RMM | 8/27/2024 2:31:00 AM | 8/27/2024 3:01:00 AM | 0 | 0 | 0.5 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | Verified the patches after Automatically deployment, found High vulnerability patches were failed on below Machines so connected to the machine downloaded and installed below patches, computers rebooted,rescanned the devices from my rmm portal,now all patches are up to date and system shows in healthy state.Also verified the services.Some patches not deployed due to non compatible. Update for Microsoft WebView2 Runtime (x64) (128.0.2739.42) The latest update for Microsoft Defender (1.417.333.0)
Under Contract | 8/27/2024 | critical patch updated on machine VDI169 | Vintage Design | My RMM | 8/27/2024 5:06:00 AM | 8/27/2024 5:37:00 AM | 0 | 0 | 0.52 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | Verified the patches after Automatically deployment, found High vulnerability patches were failed on below Machines so connected to the machine downloaded and installed below patches, computers rebooted,rescanned the devices from my rmm portal,now all patches are up to date and system shows in healthy state.Also verified the services.Some patches not deployed due to non compatible. Google Chrome (x64) (128.0.6613.84, 128.0.6613.85) Update for Microsoft WebView2 Runtime (x64) (128.0.2739.42) The latest update for Microsoft Defender (1.417.333.0)
Under Contract | 8/27/2024 | critical patch updated on machine vdi143 | Vintage Design | My RMM | 8/27/2024 5:37:00 AM | 8/27/2024 6:14:00 AM | 0 | 0 | 0.62 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | Verified the patches after Automatically deployment, found High vulnerability patches were failed on below Machines so connected to the machine downloaded and installed below patches, computers rebooted,rescanned the devices from my rmm portal,now all patches are up to date and system shows in healthy state.Also verified the services.Some patches not deployed due to non compatible. Update for Microsoft WebView2 Runtime (x64) (128.0.2739.42) Google Chrome (x64) (128.0.6613.84, 128.0.6613.85) Windows Malicious Software Removal Tool x64 - Aug 2024 (KB890830) The latest update for Microsoft Defender (1.417.325.0)
Under Contract | 8/27/2024 | critical patches updated on machine VDI212 | Vintage Design | My RMM | 8/27/2024 6:14:00 AM | 8/27/2024 7:00:00 AM | 0 | 0 | 0.77 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | Verified the patches after Automatically deployment, found High vulnerability patches were failed on below Machines so connected to the machine downloaded and installed below patches, computers rebooted,rescanned the devices from my rmm portal,now all patches are up to date and system shows in healthy state.Also verified the services.Some patches not deployed due to non compatible. Update for Microsoft Teams Machine-Wide Installer 1.7.00.21751 (x64) Update for Microsoft WebView2 Runtime (x64) (128.0.2739.42) Google Chrome (x64) (128.0.6613.84, 128.0.6613.85) KB5042352, KB5042351, 2024-08 Cumulative Update for .NET Framework 3.5 and 4.8.1 for Windows 10 Version 22H2 for x64 (KB5042097) Windows Malicious Software Removal Tool x64 - Aug 2024 (KB890830) Update for Microsoft 365 Apps for Enterprise Current Channel for x64 2407 of version(17830.20166) Update for .NET Desktop Runtime (x64) (6.0.33) (KB5042131) The latest update for Microsoft Defender (1.417.325.0) Dell Peripheral Manager (1.7.6)
Under Contract | 8/28/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | My RMM | 8/28/2024 2:00:00 PM | 8/28/2024 3:30:00 PM | 1.5 | 0 | 0 | 0 | 0 | P. Biswal | CHD-TS1 | Support | Remote | During the last patch deployment, several VDI systems encountered issues, with VDI069, VDI119, VDI056, and VDI076 missing or failing to apply critical updates. The specific patches that were not successfully installed included the Windows Malicious Software Removal Tool x64 - Aug 2024 (KB890830), Dell Peripheral Manager (1.7.6), Adobe Acrobat Reader DC (x64) (24.003.20054), Ethernet Connection (17) I219-LM[PCI\VEN_8086&DEV_1A1E] (12.19.2.60), and Update for .NET Desktop Runtime (x64) (6.0.33) (KB5042131). Due to these failures, I manually intervened to ensure that these essential patches were deployed correctly across the affected systems, ensuring their security and functionality were up to date.
Under Contract | 8/28/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | My RMM | 8/28/2024 5:20:00 PM | 8/28/2024 6:32:00 PM | 1.2 | 0 | 0 | 0 | 0 | Y. Kumar | CHD-TS1 | Support | Remote | Login to the manage engine portal and check approved patches for the below mentioned machines then download and installed. the vulnerable patches manually which are applicable to the computers. Then reboot the computers and scan the machines for installed patches. After reboot Check and verify the machine with the MY RMM portal. The vulnerable patches are updated successfully. Machines are: VDI313, VDI161, VDI306, VDI097. Patches installed- Ethernet Connection (5) I219-LM[PCI\VEN_8086&DEV_15E3] (12.19.2.60) 1314131 Raptor Lake-P [Iris Xe Graphics][PCI\VEN_8086&DEV_A7A0] (32.0.101.5542) 1314094 Raptor Lake PCH CNVi WiFi[PCI\VEN_8086&DEV_51F1] (23.60.1.2) 400009 The latest update for Microsoft Defender (1.417.358.0) 1314088 Comet Lake PCH CNVi WiFi[PCI\VEN_8086&DEV_06F0] (23.60.1.2) 1313399 RTL8153 Gigabit Ethernet Adapter[USB\VID_0BDA&PID_8153] (10.59.420.2023)
Under Contract | 8/28/2024 | Computer Issue | dougmcgaugh@vintagedesigninc.com | User Generated | 8/28/2024 5:21:00 PM | 8/28/2024 6:30:00 PM | 1.15 | 0 | 0 | 0 | 0 | P. Biswal | CHD-TS1 | Support | Remote | I’ve been working with Sourav on the ongoing issue with VDI194. The system was experiencing significant slowness and even got stuck at times. We performed a series of troubleshooting steps, which led to a slight improvement in performance. However, the user is still not completely satisfied with the system’s responsiveness. To address this, we have requested an in-place upgrade to be performed tomorrow after hours, hoping it will resolve the remaining issues.
Under Contract | 8/28/2024 | Re: Computer Issue - Jim Smith | dougmcgaugh@vintagedesigninc.com | User Generated | 8/28/2024 5:26:00 PM | 8/28/2024 5:30:00 PM | 0.07 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | By monitoring support mailbox received an email from Jim regarding VPN login issue. I have created a ticket for the issue shared by mail. Additionally, I have assigned the responsibility of managing this ticket to Munish sir in tech support to resolve the issue.
Under Contract | 8/28/2024 | RE: Computer Issue - Nick Gales | dougmcgaugh@vintagedesigninc.com | User Generated | 8/28/2024 5:30:00 PM | 8/28/2024 5:34:00 PM | 0.07 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | By monitoring support mailbox received an email from Nick regarding computer is still extremely sluggish . I have created a ticket for the issue shared by mail. Additionally, I have assigned the responsibility of managing this ticket to Saurabh in tech support to resolve the issue.
Under Contract | 8/28/2024 | Critical - Vdi307Device Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Automated | 8/28/2024 5:34:00 PM | 8/28/2024 5:38:00 PM | 0.07 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | I have updated the client's name, to ensure the client receives all updates related to this alert. Also, assigned responsibility for this ticket to Sourabh in tech support to check and resolve the alert-related issues. Critical - Vdi307Device Down: No response from device for last 5 polls$MonitorField(monitorName)
Under Contract | 8/28/2024 | Critical - VDI130.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Automated | 8/28/2024 5:51:00 PM | 8/28/2024 5:55:00 PM | 0.07 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | I have updated the client's name, to ensure the client receives all updates related to this alert. Also, assigned responsibility for this ticket to Yogesh in tech support to check and resolve the alert-related issues. Device Down: No response from device for last 5 polls Device: VDI130.VintageDesignInc.com Category: Desktop Error Condition: Critical
Under Contract | 8/28/2024 | FW: unknown email | dougmcgaugh@vintagedesigninc.com | User Generated | 8/28/2024 6:37:00 PM | 8/28/2024 6:56:00 PM | 0.32 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | While monitoring, I received an email from Latrece requesting to block suspicious senders. I took immediate action to address the issue by manually blocking the email addresses involved. This step was crucial in preventing any further disruption or potential harm. By blocking these senders, I ensured that Latrece would no longer receive unwanted messages from the spam source, thereby maintaining the security and cleanliness of her inbox.
Under Contract | 8/28/2024 | Remote Resource can’t be reached | dougmcgaugh@vintagedesigninc.com | User Generated | 8/28/2024 7:03:00 PM | 8/28/2024 7:07:00 PM | 0.07 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | By monitoring support mailbox received an email from Rachel regarding remote resource can't be reached . I have created a ticket for the issue shared by mail. Additionally, I have assigned the responsibility of managing this ticket to Parveen in tech support to resolve the issue.
Under Contract | 8/28/2024 | RE: Computer Issue - Nick Gales | dougmcgaugh@vintagedesigninc.com | User Generated | 8/28/2024 7:57:00 PM | 8/28/2024 8:54:00 PM | 0.05 | 0 | 0.9 | 0 | 0 | S. Chamoli | CHD-TS1 | Support | Remote | As Nick had issues with low computer performance and sluggish remote app, I checked the resources, closed unnecessary services, and the resources returned to a normal state. However, the sluggishness persisted. I ran an SFC scan but couldn’t find anything. I updated the monitor driver and later recommended an in-place Windows upgrade, which I will schedule for after hours.
Under Contract | 8/28/2024 | Remote Resource can’t be reached | dougmcgaugh@vintagedesigninc.com | User Generated | 8/28/2024 8:00:00 PM | 8/28/2024 8:32:00 PM | 0 | 0 | 0.53 | 0 | 0 | P. Biswal | CHD-TS1 | Support | Remote | I received a call from Rachel at Vintage Design regarding an issue with her remote resources being unreachable. After speaking with her, I connected to her laptop to investigate. Despite attempting to connect through the VPN, the resources remained inaccessible. I then connected to the DC Server and discovered that Rachel was prompted to reset her password. Since she was using a Wi-Fi connection , she couldn’t Interact with the server. I restored all the settings, reset her user settings, and attempted to log in again. This resolved the issue, and I verified that the VPN settings were functioning correctly.
Under Contract | 8/28/2024 | Brittni Lopez and Crystal Aston getting kicked out of RemoteApps | dougmcgaugh@vintagedesigninc.com | Desktop Work | 8/28/2024 8:15:00 AM | 8/28/2024 8:30:00 AM | 0.25 | 0 | 0 | 0 | 0 | S. Sark | IRV-TS1 | Support | Remote | Doug confirmed that they are able to connect now. Closing ticket.
Under Contract | 8/28/2024 | Re: Computer Issue - Jim Smith | dougmcgaugh@vintagedesigninc.com | User Generated | 8/28/2024 10:15:00 PM | 8/28/2024 10:30:00 PM | 0 | 0 | 0.25 | 0 | 0 | M. Kumar | CHD-TS1 | Support | Remote | Logged into User Machine and found VPN Issue, checked the configuration VPN Client and it was good, logged into AD Server and found it was set on next logon to change, disable it and tested it worked fine
Under Contract | 8/28/2024 | ManageEngine Agent not synced (The machine is showing offline status on Manage Engine Portal) - VDI209 | Vintage Design | My RMM | 8/28/2024 11:00:00 PM | 8/28/2024 11:30:00 PM | 0 | 0 | 0.5 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | Reviewed the alerts on ManageEngine portal for the machine - VDI209.the computer is showing as red (offline). Connected to the computer and checked for the updates or patches applied them. Verified the agent configuration, Run health checks on the affected computer to identify this issue,disabled Firewall and Restarted the ManageEngine Services on the affected computers. Sometimes It resolves the issue related to communication between the agent and the ManageEngine server. Apart from all these I repaired the Manege Engine software engine and then the issue was fixed.
Under Contract | 8/28/2024 | Critical - VDI148.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/28/2024 11:46:00 PM | 8/28/2024 11:59:00 PM | 0 | 0 | 0.22 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | This was critical alert from OPS portal that VDI148 machine not reporting on portal and unable to monitoring. I checked and verified that machine was online. I restarted the SNMP service on this machine. I logged into OPS manager portal and verified that machine is online on portal also. Therefore, closing this ticket.
Under Contract | 8/28/2024 | Vintage workstation setup | dougmcgaugh@vintagedesigninc.com | Onboarding | 8/28/2024 12:00:00 AM | 8/28/2024 1:08:00 AM | 0 | 0 | 1.13 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | This task, assigned by Doug, involved setting up the computer VDI109 for the user Katrina Buckner. I remotely accessed the machine and first configured and tested the VPN to ensure it was working. I set up the FileMaker application for both local and remote access, and configured Outlook for both environments as well. I verified that all Technijian tools were installed on the machine. Additionally, I installed Adobe Reader and Chrome, setting Chrome with a default homepage. I also disabled hibernation and sleep mode on the computer. FileMaker was running and connected to IRNG05. I have informed Doug of the completion. Therefore, I am closing this ticket.
Under Contract | 8/28/2024 | Operations users - PW change permission | dougmcgaugh@vintagedesigninc.com | User Generated | 8/28/2024 1:08:00 AM | 8/28/2024 1:41:00 AM | 0 | 0 | 0.55 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | This request from Doug was to enable password change permissions for all users in the Operations security group. I logged into the AD server and enabled the password change option for the entire Operations security group. I have informed Doug and Sunny via email. Therefore, I am closing this ticket.
Under Contract | 8/28/2024 | ManageEngine Agent not synced (The machine is showing offline status on Manage Engine Portal) - VDI314 | Vintage Design | My RMM | 8/28/2024 2:47:00 AM | 8/28/2024 3:12:00 AM | 0 | 0 | 0.42 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | Reviewed the alerts on ManageEngine portal for the machine -VDI314.the computer is showing as red (offline). Connected to the computer and checked for the updates or patches applied them. Verified the agent configuration, Run health checks on the affected computer to identify this issue,disabled Firewall and Restarted the ManageEngine Services on the affected computers. Sometimes It resolves the issue related to communication between the agent and the ManageEngine server. Apart from all these I repaired the Manege Engine software engine and then the issue was fixed.
Under Contract | 8/28/2024 | Missing group tag added on machine- VDI304 | dougmcgaugh@vintagedesigninc.com | My AntiVirus | 8/28/2024 3:01:00 AM | 8/28/2024 3:21:00 AM | 0 | 0 | 0.33 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | I accessed the CrowdStrike portal and observed that VDI304 machine was pending group tagging. To address this, I assigned the necessary CrowdStrike tag to this machine VDI304. Therefore, closing this ticket.
Under Contract | 8/28/2024 | VTD_HQ_OPSPRB Probe will shutdown shortly. | dougmcgaugh@vintagedesigninc.com | Sys Monitoring | 8/28/2024 3:10:00 AM | 8/28/2024 3:28:00 AM | 0 | 0 | 0.3 | 0 | 0 | G. Kumar | CHD-TS1 | Support | Remote | As checked and found that the probe was showing down for the VTD client on OPS manager so connected to the VTD-HQ-OPSPRB and verified that the OPS manager service was stopped restarted the services and verified on the Portal and its showing up now.
Under Contract | 8/28/2024 | SNMP configuration on VDI304 | dougmcgaugh@vintagedesigninc.com | Sys Monitoring | 8/28/2024 3:53:00 AM | 8/28/2024 4:23:00 AM | 0 | 0 | 0.5 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | I noticed that there was a machine still needing SNMP setup. I remotely accessed the machine and installed SNMP using a PowerShell script. I configured the community string and started the SNMP service. Therefore, I am closing this ticket.
Under Contract | 8/28/2024 | Critical - VDI197.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/28/2024 4:41:00 AM | 8/28/2024 4:59:00 AM | 0 | 0 | 0.3 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | A critical alert from the OPS manager portal indicated that the VDI197 machine was not reporting. I confirmed that the machine was online on both the MyRemote and MyRMM portals and that the SNMP service was running. After restarting the service, I checked the OPS portal and verified that the machine was now reporting. The critical alert has been removed, and the machine is online on the portal. Therefore, I am closing this ticket.
Under Contract | 8/28/2024 | critical patch updated on machine VDI143 | Vintage Design | My RMM | 8/28/2024 5:29:00 AM | 8/28/2024 5:58:00 AM | 0 | 0 | 0.48 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | Verified the patches after Automatically deployment, found High vulnerability patches were failed on below Machines so connected to the machine downloaded and installed below patches, computers rebooted,rescanned the devices from my rmm portal,now all patches are up to date and system shows in healthy state.Also verified the services.Some patches not deployed due to non compatible. The latest update for Microsoft Defender (1.417.349.0) Dell Peripheral Manager (1.7.6)
Under Contract | 8/28/2024 | critical patch updated on machine vdi315 | Vintage Design | My RMM | 8/28/2024 5:58:00 AM | 8/28/2024 6:29:00 AM | 0 | 0 | 0.52 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | Verified the patches after Automatically deployment, found High vulnerability patches were failed on below Machines so connected to the machine downloaded and installed below patches, computers rebooted,rescanned the devices from my rmm portal,now all patches are up to date and system shows in healthy state.Also verified the services.Some patches not deployed due to non compatible. The latest update for Microsoft Defender (1.417.349.0) Dell Peripheral Manager (1.7.6)
Under Contract | 8/28/2024 | critical patch updated on machine VDI148 | Vintage Design | My RMM | 8/28/2024 6:29:00 AM | 8/28/2024 7:00:00 AM | 0 | 0 | 0.52 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | Verified the patches after Automatically deployment, found High vulnerability patches were failed on below Machines so connected to the machine downloaded and installed below patches, computers rebooted,rescanned the devices from my rmm portal,now all patches are up to date and system shows in healthy state.Also verified the services.Some patches not deployed due to non compatible. Google Chrome (x64) (128.0.6613.84, 128.0.6613.85) Update for Microsoft WebView2 Runtime (x64) (128.0.2739.42)
Under Contract | 8/29/2024 | Re: Computer Issue - Jim Smith | dougmcgaugh@vintagedesigninc.com | User Generated | 8/29/2024 2:00:00 PM | 8/29/2024 2:05:00 PM | 0.08 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | By monitoring support mailbox received an email from Jim regarding not able to login work resources. I have assisted by mails & created a ticket for the issue . Additionally, I have assigned the responsibility of managing this ticket to Satish in tech support to resolve the issue.
Under Contract | 8/29/2024 | NextGen Down - Vintage Design | dougmcgaugh@vintagedesigninc.com | User Generated | 8/29/2024 2:05:00 PM | 8/29/2024 2:10:00 PM | 0.08 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | By monitoring support mailbox received an email from Ralph regarding unable to access Nextgen. I assisted & created a ticket for the issue shared by mail. Additionally, I have assigned the responsibility of managing this ticket to Yogesh in tech support to resolve the issue.
Under Contract | 8/29/2024 | Critical - VDI130.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/29/2024 2:19:00 PM | 8/29/2024 2:37:00 PM | 0.3 | 0 | 0 | 0 | 0 | Y. Kumar | CHD-TS1 | Support | Remote | AS per ticket assigned by komal. logged into the OPS manager and observed critical alerts on the following machine:- VDI130. Upon investigation, I found that the alert indicated a ' Device Down issue on VDI130.I took the remote control and found that it was normal. I proceeded to remotely access these machines and checked their ‘Device Down’ which appeared normal. I then restarted the SNMP service and initiated the rediscovery command on these devices. After completing these steps, all sensors resumed normal operation. As a result, I am closing this ticket.
Under Contract | 8/29/2024 | FRAUD | dougmcgaugh@vintagedesigninc.com | User Generated | 8/29/2024 3:22:00 PM | 8/29/2024 3:26:00 PM | 0.07 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | By monitoring support mailbox received an email from Latrece regarding need to block suspicious sender. I have created a ticket for this one task. Additionally, I have assigned the responsibility of managing this ticket to Yogesh in tech support to complete this task.
Under Contract | 8/29/2024 | RE: Computer Issue - Nick Gales | dougmcgaugh@vintagedesigninc.com | User Generated | 8/29/2024 4:00:00 PM | 8/29/2024 6:37:00 PM | 2.62 | 0 | 0 | 0 | 0 | P. Biswal | CHD-TS1 | Support | Remote | As per the handover from Sourabh, the user was experiencing slowness issues, and upon further troubleshooting, I discovered that the Windows operating system was corrupted. I logged into VDI194 and attempted several troubleshooting steps to resolve the issue: Restart the Computer : I began by restarting the system to clear any temporary glitches. Run Windows Update : Ensured that the operating system was up-to-date by installing the latest updates. Run the System File Checker (SFC) : I ran the SFC tool to scan for and repair any corrupted system files. Use the DISM Tool : The DISM tool was used to repair the Windows image to restore any missing or corrupted files. Check the Hard Drive for Errors : I checked the hard drive for errors using the built-in error-checking tools to ensure the disk was not contributing to the issue. Boot into Safe Mode : Booted the system in Safe Mode to determine if any third-party applications were causing the slowness. Use System Restore : I attempted a System Restore to revert the system to a previous state where it was functioning correctly. Uninstall Recent Updates or Drivers : I uninstalled any recent updates or drivers that might have caused the corruption or slowness. Use Startup Repair : Attempted Startup Repair to fix any issues preventing Windows from starting correctly. After executing all these steps, the user was still not satisfied with the system's performance. As a final measure, I performed an in-place upgrade by downloading the latest ISO and redeploying Windows. Upon completion, I verified that the user's data was intact, and the system was running as expected. I am now awaiting the user's response to confirm their satisfaction with the resolution.
Under Contract | 8/29/2024 | Critical - IRDC01.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Automated | 8/29/2024 4:30:00 PM | 8/29/2024 4:38:00 PM | 0.13 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | I have updated the client's name, to ensure the client receives all updates related to this alert. Also, assigned responsibility for this ticket to Parveen in tech support to check and resolve the alert-related issues. I also closed another duplicate tickets for the same issue after verification. Device Down: No respon se from device for last 5 polls Device: IRDC01.VintageDesignInc.com Category: DomainController Error Condition: Critical
Under Contract | 8/29/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | Automated | 8/29/2024 4:42:00 PM | 8/29/2024 4:50:00 PM | 0.13 | 0 | 0 | 0 | 0 | K. Sharma | CHD-TS1 | Support | Remote | I have updated the client's name, to ensure the client receives all updates related to this alert. Also, assigned responsibility for this ticket to Yogesh in tech support to check and deploy failed or missing patches as shown in ticket details. I also closed another duplicate tickets for the same issue after verification. Failure Notification for Automate Patch Deployment task-VTD Patch Management
Under Contract | 8/29/2024 | Critical - IRDC01.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Datacenter | 8/29/2024 6:37:00 PM | 8/29/2024 6:56:00 PM | 0.32 | 0 | 0 | 0 | 0 | P. Biswal | CHD-TS1 | Support | Remote | Upon receiving the alert on IRDC01 with the message "Device Down: No response from device for the last 5 polls," I promptly connected to the server to investigate the issue. The device in question, IRDC01.VintageDesignInc.com, was unresponsive, indicating a potential network problem. Upon further inspection, I discovered that the network connection had been disrupted. To resolve the issue, I performed a series of troubleshooting steps, including resetting the network settings on the server. After the reset, the network connection was successfully restored, and the device is now accessible and functioning correctly.
Under Contract | 8/29/2024 | Failure Notification for Automate Patch Deployment task-VTD Patch Management | Vintage Design | My RMM | 8/29/2024 6:41:00 PM | 8/29/2024 8:04:00 PM | 1.31 | 0 | 0.07 | 0 | 0 | Y. Kumar | CHD-TS1 | Support | Remote | Login to the manage engine portal and check approved patches for the below mentioned machines then download and installed. the vulnerable patches manually which are applicable to the computers. Then reboot the computers and scan the machines for installed patches. After reboot Check and verify the machine with the MY RMM portal. The vulnerable patches are updated successfully. Machines are: IR0003, VDI071, VDI068, VDI146 Patches installed- Ethernet Connection (5) I219-LM[PCI\VEN_8086&DEV_15E3] (12.19.2.60) 1314131 Raptor Lake-P [Iris Xe Graphics][PCI\VEN_8086&DEV_A7A0] (32.0.101.5542) 1314094 Raptor Lake PCH CNVi WiFi[PCI\VEN_8086&DEV_51F1] (23.60.1.2) 400009 The latest update for Microsoft Defender (1.417.358.0) 1314088 Comet Lake PCH CNVi WiFi[PCI\VEN_8086&DEV_06F0] (23.60.1.2) 1313399 RTL8153 Gigabit Ethernet Adapter[USB\VID_0BDA&PID_8153] (10.59.420.2023)
Under Contract | 8/29/2024 | RE: Computer Issue - Nick Gales | dougmcgaugh@vintagedesigninc.com | User Generated | 8/29/2024 6:56:00 PM | 8/29/2024 7:22:00 PM | 0.43 | 0 | 0 | 0 | 0 | P. Biswal | CHD-TS1 | Support | Remote | After updating the machine, the user confirmed that the system was functioning properly. However, they reported that they were unable to access the network drive. To resolve this issue, I remotely connected to the user's system and re-established the connection to all network drives. After performing this task, I verified that the network drives were accessible and working correctly. The user confirmed that everything was functioning as expected. With the issue resolved, I proceeded to close the ticket.
Under Contract | 8/29/2024 | Re: Computer Issue - Jim Smith | dougmcgaugh@vintagedesigninc.com | User Generated | 8/29/2024 7:11:00 PM | 8/29/2024 7:26:00 PM | 0.25 | 0 | 0 | 0 | 0 | S. Sharma | CHD-TS1 | Support | Remote | Got the email on support from Jim Smith for not able to access work resource folder. So connected to remote server, disonnected the user from there. Asked the user to check . User is able to access the work resource folder now.
Under Contract | 8/29/2024 | NextGen Down - Vintage Design | dougmcgaugh@vintagedesigninc.com | User Generated | 8/29/2024 8:04:00 PM | 8/29/2024 8:23:00 PM | 0 | 0 | 0.32 | 0 | 0 | Y. Kumar | CHD-TS1 | Support | Remote | Got the email on support from Ralph Garcia for not able to access NextGen. So connected to remote server, disconnected the user from there. Asked the user to check. User is able to access the work resource folder now.
Under Contract | 8/29/2024 | Password reset project | dougmcgaugh@vintagedesigninc.com | Server Work | 8/29/2024 9:15:00 AM | 8/29/2024 9:45:00 AM | 0.5 | 0 | 0 | 0 | 0 | S. Sark | IRV-TS1 | Support | Remote | Generate AD user list with PW set date, PW expiration, Forced PW change on next logon. Review accounts with potential issues with Doug.
Under Contract | 8/29/2024 | Critical - Vdi307Device Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Sys Monitoring | 8/29/2024 12:00:00 AM | 8/29/2024 12:17:00 AM | 0 | 0 | 0.28 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | This was Ops manager alert that VDI307 not responding during system monitoring. I noticed that machine was showing online on myremote and myrmm portal. I took the remote access of this machine and verified that SNMP service was running and community string setup correctly. I initiated the re-discover device from portal. After completed this process this machine was showing online on OPS portal. Therefore, closing this ticket.
Under Contract | 8/29/2024 | Vintage Design Access & Email | Vintage Design | User Generated | 8/29/2024 12:54:00 AM | 8/29/2024 1:26:00 AM | 0 | 0 | 0.53 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | This was an email request from Meaghan to shut down all access for Rachelle. I logged into the AD server, removed Rachelle from all security groups, and disabled the user account. I then logged into the Office 365 admin portal and set up the required email forwarding. I also blocked the user’s sign-in and reset the password. I informed Meaghan that the process was complete. Therefore, I am closing this ticket.
Under Contract | 8/29/2024 | Critical - VDI130.VintageDesignInc.comDevice Down: No response from device for last 5 polls$MonitorField(monitorName) | Vintage Design | Automated | 8/29/2024 2:23:00 AM | 8/29/2024 2:38:00 AM | 0 | 0 | 0.25 | 0 | 0 | S. Kumar | CHD-TS1 | Support | Remote | This was a critical alert indicating that the machine VDI130 was not reporting on the OPS portal. I confirmed that the machine was online on both the MyRemote and MyRMM portals, and that the SNMP service was running with the correct community string. Despite this, the OPS portal still showed the machine as offline. I initiated a device rediscovery from the OPS portal, and after completing this process, the machine came online with all interfaces visible. Therefore, I am closing this ticket.
Under Contract | 8/29/2024 | SNMP setup on VDi109 | Vintage Design | My SNMP | 8/29/2024 2:31:00 AM | 8/29/2024 2:57:00 AM | 0 | 0 | 0.43 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | I noticed that SNMP was not yet installed on VDI109. I remotely accessed the machine and installed SNMP using PowerShell. I also configured the community string on the machine. After logging into the OPS portal, I added this machine to the portal as well. The machine is now reporting on OPS. Therefore, I am closing this ticket.
Under Contract | 8/29/2024 | Login to Crowdstrike portal and found VDI120 without tagging | dougmcgaugh@vintagedesigninc.com | My AntiVirus | 8/29/2024 2:53:00 AM | 8/29/2024 3:08:00 AM | 0 | 0 | 0.25 | 0 | 0 | S. Kumar | CHD-TS1 | Support | Remote | Login to Crowdstrike portal and found VDI120 without tagging. So Add tagg to the machine of their respective group
Under Contract | 8/29/2024 | Vintage Design Access and Email | Vintage Design | User Generated | 8/29/2024 6:32:00 AM | 8/29/2024 7:00:00 AM | 0 | 0 | 0.47 | 0 | 0 | A. Kumar Poddar | CHD-TS1 | Support | Remote | As per the user request logged into office 365 and set policy of forwarding email to the required user, changed the password and on the AD server disabled the user.
Under Contract | 8/29/2024 | Malware bytes scanning issue on vtd machines | dougmcgaugh@vintagedesigninc.com | My AntiVirus | 8/29/2024 12:17:00 PM | 8/29/2024 12:50:00 PM | 0.55 | 0 | 0 | 0 | 0 | R. Uniyal | CHD-TS1 | Support | Remote | Verified the Malwarebytes portal and found that some machines were stuck in a scan. Connected to the machines VDI198,VDI130,VDI161 and pushed the scan again. After some time,the scan completed, and the machines were completely scanned in portal.
Under Contract | 8/30/2024 | Stephanie O'Conner RDP profile issue | dougmcgaugh@vintagedesigninc.com | Desktop Work | 8/30/2024 8:00:00 AM | 8/30/2024 8:30:00 AM | 0.5 | 0 | 0 | 0 | 0 | S. Sark | IRV-TS1 | Support | Remote | Stephanie had 2 accounts, remnant of when she changed her last name. Set up her RDP profile using new account and verified she had access to everything.
Under Contract | 8/30/2024 | Email on my phone | Vintage Design | User Generated | 8/30/2024 2:13:00 AM | 8/30/2024 2:37:00 AM | 0 | 0 | 0.4 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | This email was from Jessica regarding an issue with setting up email on her mobile phone due to authentication problems. I obtained her new contact number and updated it in the Azure authentication method. I also revoked the old MFA session from Entra ID. After these changes, the user attempted to log in and was successful. Jessica has confirmed that the email setup is now complete. Therefore, I am closing this ticket.
Under Contract | 8/30/2024 | My Out look and slow Computer URGENT | Vintage Design | User Generated | 8/30/2024 4:21:00 AM | 8/30/2024 5:32:00 AM | 0 | 0 | 1.18 | 0 | 0 | S. Singh | CHD-TS1 | Support | Remote | This was email from user Barry regarding computer and outlook running very slow also recent emails not showing in inbox. I took access to her computer ( VDI098-MB) and performed several optimization steps, including removing all temporary files and prefetch data. Additionally, I ran the 'sfc /scannow' command in the Command Prompt to restore system health, stopped the 'sysmain' service using PowerShell, halted the storage service from 'services.msc,' and disabled defragmentation tasks in Task Scheduler. After these interventions, I observed that the computer's HDD utilization comes down to 62% which was 100% earlier. The user reported an issue with Outlook as well. I initiated an online Office repair, after which Outlook began functioning correctly and all missing emails appeared in the inbox. I notified the user via email and am now awaiting their confirmation.